## Sheet1
2009 ASHRAE Handbook - Foundamentals (SI)
PORTO/PEDRAS RUBRAS, PORTUGAL (WMO: 085450)
Lat:41.23N |  | Long:8.68W |  | Elev:77 |  | StdP: 100.4 |  |  | Time zone:0.00 |  |  | Period:82-06
Annual Heating and Humidification Design Conditions
Coldest Month | Heating DB |  | Humidification DP/MCDB and HR | [5 empty] | Coldest month WS/MCDB |  |  |  | MCWS/PCWD to 99.6% DB
|  |  | 99.6% |  |  | 99% |  |  | 0.4% |  | 1%
| 99.6% | 99% | DP | HR | MCDB | DP | HR | MCDB | WS | MCDB | WS | MCDB | MCWS | PCWD
1 | 1.9 | 3.1 | -4.5 | 2.6 | 7.3 | -2.5 | 3.1 | 7.6 | 12.3 | 12.6 | 10.9 | 12.5 | 2.5 | 90
Annual Cooling, Dehumidification, and Enthalpy Design Conditions
Hottest Month | Hottest Month | Cooling DB/MCWB | [5 empty] | Evaporation WB/MCDB | [5 empty] | MCWS/PCWD to 0.4% DB
| DB Range | 0.4% |  | 1% |  | 2% |  | 0.4% |  | 1% |  | 2%
|  | DB | MCWB | DB | MCWB | DB | MCWB | WB | MCDB | WB | MCDB | WB | MCDB | MCWS | PCWD
8 | 9 | 30.3 | 19.3 | 28.1 | 18.7 | 26 | 18 | 20.7 | 26.7 | 20 | 25.1 | 19.3 | 23.6 | 3.8 | 320
Dehumidification DP/MCDB and HR | [8 empty] | Enthalpy/MCDB | [5 empty] | Hours 8 to 4 and 12.8/20.6
0.4% |  |  | 1% |  |  | 2% |  |  | 0.4% |  | 1% |  | 2%
DP | HR | MCDB | DP | HR | MCDB | DP | HR | MCDB | Enth | MCDB | Enth | MCDB | Enth | MCDB
19.1 | 14 | 21.7 | 18.3 | 13.3 | 20.9 | 17.9 | 13 | 20.5 | 59.9 | 26.9 | 57.3 | 25.2 | 55 | 23.7 | 1870
Extreme Annual Design Conditions
Extreme Annual WS |  |  | Extreme Max WB | Extreme Annual DB |  |  |  | n-Year Return Period Values of Extreme DB
|  |  |  | Mean |  | Standard deviation |  | n=5 years |  | n=10 years |  | n=20 years |  | n=50 years
1% | 2.5% | 5% |  | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max | Min | Max
9.9 | 8.5 | 7.4 | 27.7 | -0.7 | 34.9 | 1.3 | 1.7 | -1.6 | 36 | -2.4 | 37 | -3.1 | 37.9 | -4 | 39.1
Monthly Climatic Design Conditions
|  |  | Annual | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Temperatures, Degree-Days and Degree-Hours |  | Tavg | 14.7 | 9.9 | 10.6 | 12.3 | 13.1 | 15.2 | 18 | 19.3 | 19.6 | 18.5 | 16 | 12.9 | 11
|  | Sd |  | 2.5 | 2.55 | 2.67 | 2.74 | 2.75 | 2.87 | 2.58 | 2.65 | 2.59 | 2.52 | 2.82 | 2.56
|  | HDD10.0 | 93 | 33 | 22 | 8 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 19
|  | HDD18.3 | 1495 | 262 | 218 | 187 | 159 | 105 | 39 | 14 | 11 | 27 | 81 | 164 | 229
|  | CDD10.0 | 1816 | 30 | 37 | 81 | 97 | 162 | 239 | 289 | 298 | 254 | 186 | 93 | 49
|  | CDD18.3 | 174 | 0 | 0 | 1 | 1 | 8 | 28 | 44 | 51 | 32 | 8 | 1 | 0
|  | CDH23.3 | 1199 | 0 | 0 | 8 | 13 | 64 | 220 | 336 | 346 | 177 | 36 | 0 | 0
|  | CDH26.7 | 364 | 0 | 0 | 0 | 1 | 14 | 66 | 114 | 119 | 46 | 4 | 0 | 0
Monthly Design Dry Bulb and Mean Coincident Wet Bulb Temperatures |  | 0.4% | DB | 17.4 | 19.7 | 24.3 | 25.2 | 28.7 | 31.5 | 33 | 33.3 | 31 | 26.8 | 21.9 | 19.1
|  |  | MCWB | 12.4 | 13.4 | 13.9 | 15.7 | 17.5 | 19.2 | 20 | 19.8 | 19.2 | 18.1 | 15.9 | 13.5
|  | 2% | DB | 15.6 | 17.2 | 21.1 | 22.1 | 24.9 | 28.5 | 29.9 | 29.9 | 27.8 | 24 | 19.8 | 16.9
|  |  | MCWB | 12.2 | 11.9 | 13.4 | 14.3 | 16.2 | 18.5 | 19.6 | 19.4 | 18.5 | 16.9 | 15.3 | 13.7
|  | 5% | DB | 14.7 | 15.7 | 18.8 | 19.9 | 22 | 25.9 | 27.1 | 27.1 | 25.1 | 22 | 18.2 | 15.9
|  |  | MCWB | 12.2 | 11.7 | 12.8 | 13.9 | 15.9 | 17.7 | 19.1 | 18.7 | 18 | 16.6 | 15.3 | 13.9
|  | 10% | DB | 14 | 14.4 | 16.9 | 17.9 | 19.8 | 23.1 | 24.3 | 24.6 | 23 | 20.1 | 17.1 | 15
|  |  | MCWB | 11.9 | 11.7 | 12.1 | 13.2 | 15.2 | 17.5 | 18.4 | 18.3 | 17.6 | 16.3 | 14.6 | 12.9
Monthly Design Wet Bulb and Mean Coincident Dry Bulb Temperatures |  | 0.4% | WB | 14.7 | 14.9 | 15.7 | 17.4 | 19.2 | 21.1 | 21.8 | 21.9 | 21 | 19.8 | 18.1 | 16.1
|  |  | MCDB | 15.3 | 16.8 | 20.4 | 21.6 | 24.8 | 27.7 | 28.9 | 27.8 | 26.9 | 22.1 | 18.9 | 16.5
|  | 2% | WB | 13.9 | 14 | 14.6 | 15.8 | 17.5 | 19.8 | 20.6 | 20.6 | 19.9 | 18.7 | 16.9 | 15.4
|  |  | MCDB | 14.5 | 15.4 | 18.4 | 19.3 | 22.2 | 25.9 | 27 | 26.2 | 24.3 | 21.6 | 18.4 | 15.9
|  | 5% | WB | 13.2 | 13.2 | 13.8 | 14.9 | 16.5 | 18.8 | 19.7 | 19.7 | 19.1 | 17.8 | 16.1 | 14.3
|  |  | MCDB | 14 | 14.5 | 16.7 | 18 | 20.3 | 23.6 | 24.9 | 24.3 | 22.8 | 20.4 | 17.6 | 15.4
|  | 10% | WB | 12.4 | 12.5 | 13.1 | 14 | 15.7 | 18 | 18.8 | 19.1 | 18.5 | 17 | 15.2 | 13.4
|  |  | MCDB | 13.6 | 13.9 | 15.7 | 16.9 | 18.8 | 21.9 | 23 | 23 | 21.7 | 19.3 | 16.7 | 14.7
Mean Daily Temperature Range |  |  | MDBR | 7.2 | 7.8 | 8.5 | 7.9 | 7.6 | 8 | 8.6 | 9 | 8.6 | 7.7 | 7 | 6.7
|  | 5% DB | MCDBR | 7.4 | 9.5 | 11.9 | 11.4 | 11.5 | 12.6 | 13.3 | 13.2 | 12.1 | 10.7 | 7.7 | 6.9
|  |  | MCWBR | 5.2 | 6 | 6.7 | 6.5 | 5.9 | 5.9 | 6 | 6 | 5.7 | 5.7 | 4.9 | 5
|  | 5% WB | MCDBR | 4.7 | 6.2 | 9.2 | 9.2 | 9 | 9.8 | 10.9 | 9.9 | 9.2 | 8 | 5.6 | 4.9
|  |  | MCWBR | 4.4 | 4.8 | 5.8 | 5.9 | 5.2 | 5.3 | 5.7 | 5.4 | 5.7 | 5.7 | 4.9 | 5
Clear Sky Solar Irradiance |  | taub |  | 0.332 | 0.35 | 0.384 | 0.378 | 0.405 | 0.417 | 0.41 | 0.421 | 0.392 | 0.378 | 0.347 | 0.338
|  | taud |  | 2.381 | 2.299 | 2.146 | 2.227 | 2.15 | 2.141 | 2.205 | 2.146 | 2.256 | 2.236 | 2.349 | 2.347
|  | Ebn,noon |  | 816 | 853 | 860 | 893 | 872 | 859 | 862 | 841 | 842 | 807 | 787 | 771
|  | Edn,noon |  | 92 | 111 | 140 | 137 | 150 | 152 | 141 | 146 | 124 | 115 | 94 | 90